## Slide 1
Dr Adam Clayton
Autonomous Optimisation for Multistep Chemical Synthesis

## Slide 2
School of Chemistry & Chemical and Process Engineering
FACULTY OF ENGINEERING AND PHYSICAL SCIENCES
Multistep Synthesis
Multistep syntheses in flow:
Aim: Expand the capabilities of self-optimising systems to enable rapid development of telescoped reactions.
Synthesis of APIs | Less purification waste
Minimal supply chain disruptions | Less labour intensive
No large inventories of intermediates | Highly controlled conditions
this work

## Slide 3
School of Chemistry & Chemical and Process Engineering
FACULTY OF ENGINEERING AND PHYSICAL SCIENCES
Multipoint Sampling
Reactor 2
Product
Detector
from pump
to column
HPLC
Time (min)
Absorbance (210 nm)
4
6
8
10
12
(i) Heck-Intramolecular Cyclisation
4
6
8
10
12
(ii) Selective Deprotection
Reactor 1
Multipoint sampling required to deconvolute each telescoped reaction step.
Chromatographic analysis widely used in pharma due to accurate quantification of complex reaction mixtures.
Simple valve configuration designed to enable multipoint sampling with a single HPLC instrument:

## Slide 4
School of Chemistry & Chemical and Process Engineering
FACULTY OF ENGINEERING AND PHYSICAL SCIENCES
Bayesian Optimisation
Bayesian Optimisation (BO): balance exploration and exploitation to find global optimum.
= contextual improvement
= contextual variance
= mean of variances

## Slide 5
School of Chemistry & Chemical and Process Engineering
FACULTY OF ENGINEERING AND PHYSICAL SCIENCES
Autonomous Multistep Optimisation
Bayesian Optimization
1 (0.5 M)
Pd(OAc)2 (1 mol%)
dppp (2 mol%)
NEt3 (2.5 eq.)
EG:MeCN (1:1)
2 (0.5 M)
EG:MeCN (1:1)
EG:MeCN (1:1)
250 psi
HPLC
3 mL
TsOH.H2O (1.5 M)
Acetone:H2O (9:1)
4 mL
3 & 4
5
Optimization Variables
tres,1
(1-20 mins)
Equiv 2
(1-3)
Temperature1
(100-180 °C)
FvA:FvR1
(0.2-0.4)
Overall Yield (%)
BOAEI

## Slide 6
School of Chemistry & Chemical and Process Engineering
FACULTY OF ENGINEERING AND PHYSICAL SCIENCES
Optimisation Results
32 telescoped reactions conducted over 45.4 hours.
Optimum (overall yield = 81%) identified after just 13 experiments (14.1 hours).
Comparison: 42 single step reactions conducted over 26 hours (optimum identified after 16 experiments).